EE2683 Test1 Solutions
Problem 1:

[image: image1.jpg]1. For the 3 phase - 3 wire floating neutral 120V (L-N) AC circuit shown in Figure 1,
calculate Source Active and Reactive powers and power factor. Is it a safe system? What
is (VnL)? - Neutral load point voltage.

V. 120" Lo Lg=2mH, Rg=0.5Q " .
V,, =120" L—120° —a._zm_,« A
. =120" L+120° R=10Q
+ Av,
A L=0.10H an\//\c= 100uF
%/W ©C

Sz L
IO fuos

’ Vet e

L =2mH, R = 0‘5(%
—{[—\-
B

L =2mH, R, = 0.5Q
(ii) V Ic

Figure 1: 3 Phase-3 Wire Neutral Float System

|
|
|
|
|





  Method 1:

  ω=2πf=377 rad/s
  Zs=0.5+jωL= 0.5+i*377*2*10-3= 0.5+0.754i
  Zan=Zs+ZLA=0.5+0.754i+10=10.52∠4.1°
  Zbn=Zs+ZLB=0.5+0.754i+i*377*0.1=38.45∠88.9°
  Zcn=Zs+ZLC=0.5+0.754i-i/377*100*10-6=25.77∠-88.89°
  
[image: image2.wmf]1200120120120120

10.524.138.4588.925.7789.89

ANBNCN

NANBNCN

ANBNCN

VVV

IIII

ZZZ

Ð°Ð-°Ð°

=++=++=++

Ð°Ð°Ð-°

 = 4.5714 - 1.5407i A
  
[image: image3.wmf]111111

/()(4.5714 - 1.5407i )/()

10.524.138.4588.925.7789.89

NN

ANBNCN

VI

ZZZ

=++=++

Ð°Ð°Ð-°


     = 46.5134 -18.9794i = 50.23∠-21.77°A
  
[image: image4.wmf]120050.23 21.77

7.092 + 1.2983i=7.209810.37

10.52 4.1

AN

A

AN

VV

I

Z

-

Ð°-Ð°

===Ð°

Ð°

 A
 
[image: image5.wmf]12012050.23 21.77

 -2.2446 + 2.7407i=3.5426-129.3

38.4588.9

BN

B

BN

VV

I

Z

-

Ð-°-Ð°

===Ð°

Ð°

A

[image: image6.wmf]12012050.23 21.77

-4.8473 - 4.039i=6.3095-140.197

25.7788.89

CN

C

CN

VV

I

Z

-

Ð°-Ð°

===Ð°

Ð-°

A

[image: image7.wmf]*

12007.209810.37=851.03-155.79i

AAA

SVI

=´=Ð°´Ð-°

VA


[image: image8.wmf]*

1201203.5426129.3 = -150.15+397.71i 

BBB

SVI

=´=Ð-°´Ð°

VA


[image: image9.wmf]*

1201206.3095140.197= 571.98 -504.18i

CCC

SVI

=´=Ð°´Ð°

VA


[image: image10.wmf]571.98504.18762.4741.4

totalABC

SSSSi

=++=-=Ð-°

W

[image: image11.wmf]571.98

total

P

=

W

[image: image12.wmf]504.18

total

Q

=-

 Vars

[image: image13.wmf]571.98

..cos0.7502

762.47

total

total

P

PF

S

f

====


VLN=VanL+VbnL+VcnL= -139.54+56.938i=150.7098∠157.56°
Since VLN>10, the system is NOT a safe system.
Method 2:

[image: image14.jpg]



The three phase unbalanced system (Floating Neutral)
ω=2πf=377 rad/s
  Zs=0.5+jωL= 0.5+i*377*2*10-3= 0.5+0.754i
  Zan=Zs+ZLA=0.5+0.754i+10=10.52∠4.1°
  Zbn=Zs+ZLB=0.5+0.754i+i*377*0.1=38.45∠88.9°
  Zcn=Zs+ZLC=0.5+0.754i-i/377*100*10-6=25.77∠-88.89°
Find loop equations:

[image: image15.wmf]12

12

(2)()330207.8430

()(2)330207.8490

sLALBsLBABAN

sLBsLBLCBCBN

IZZZIZZVV

IZZIZZZVV

++-+==Ð°=Ð°

-++++==Ð°=Ð-°


I1= 7.0920 + 1.2983i A
I2= 4.8473 + 4.0390i A

[image: image16.wmf]

 EMBED Equation.DSMT4  [image: image17.wmf]1

7.092 + 1.2983i=7.209810.37

A

II

==Ð°

 A


[image: image18.wmf]21

-2.2446 + 2.7407i=3.5426-129.3

B

III

=-=Ð°

A


[image: image19.wmf]2

-4.8473 - 4.039i=6.3095-140.197

C

II

=-=Ð°

A


[image: image20.wmf]*

12007.209810.37=851.03-155.79i

AAA

SVI

=´=Ð°´Ð-°

VA


[image: image21.wmf]*

1201203.5426129.3 = -150.15+397.71i 

BBB

SVI

=´=Ð-°´Ð°

VA


[image: image22.wmf]*

1201206.3095140.197= 571.98 -504.18i

CCC

SVI

=´=Ð°´Ð°

VA


[image: image23.wmf]571.98504.18762.4741.4

totalABC

SSSSi

=++=-=Ð-°

W


[image: image24.wmf]571.98

total

P

=

W


[image: image25.wmf]504.18

total

Q

=-

 Vars


[image: image26.wmf]571.98

..cos0.7502

762.47

total

total

P

PF

S

f

====


VLN=VanL+VbnL+VcnL= -139.54+56.938i=150.7098∠157.56°
Since VLN>10, the system is NOT a safe system.
_1235899700.unknown

_1235900096.unknown

_1235900514.unknown

_1235900515.unknown

_1235900513.unknown

_1235900512.unknown

_1235898368.unknown

_1235898726.unknown

_1235898904.unknown

_1235898930.unknown

_1235898954.unknown

_1235898764.unknown

_1235898571.unknown

_1235897057.unknown

_1235898035.unknown

_1235896760.unknown

_1203629111.unknown

