
A Novel Power Quality Enhancement Filter Scheme in Low Voltage Distribution System
Using Modulated Power Filter Compensator
Adel M Sharaf, Said Ahmed, Hassan A Mahasneh, Yevgen Biletskiy
Department of Electrical and Computer Engineering, University of New Brunswick

Fredericton, NB, Canada E3B 5A3

{sharaf, r54w4, h.mahasneh, biletski} AT unb.ca
Abstract
The paper presents a low cost FACTS-based dynamic voltage regulation self adjusting modulated power filter and capacitor compensation scheme (MPF-CC) using a novel  dynamic error driven controller to regulate the PWM pulse width modulation switching strategy to ensure enhanced utilization and voltage stabilization via a  controlled by self-adjusting dynamic tri-loop error driven controller. This drives the topology change of a modulated power filter and capacitor compensator scheme developed by the First Author and  intended for low voltage (below 1kV) residential, commercial and small industrial applications using nonlinear/inrush type loads with substantial mix of linear hybrid arc type, converter type, and temporal inrush motorized loads. The proposed low cost modulated compensator and modulated power filter scheme can be also utilized in load bus voltage stabilization, power quality enhancement, efficient power transfer control, and control of voltage flickers produced by nonlinear and temporal inrush motorized type loads, which are now  increased in the load mix due to multitudes of consumer electronic/computerized power supply devices, commercial lighting controls, small industrial arc type loads, and converter based process industries, and adjustable speed drive systems.
Index Terms— Power Electronics and Systems, Low Voltage Utilization, Dynamic FACTS, Power Filter, Capacitor Compensation Devices
1. Introduction
Harmonics, voltage sags/swells, persistent quasi-steady state harmonics, and dynamic switching excursions can result in electric equipment failure, malfunction, hot neutral, ground potential use problem, fire and shock hazard, as well as in poor power factor and inefficient utilization of electric energy. These manifest in increase reactive power supply to the hybrid load, poor power factor and severely distorted voltage and current waveforms.

Nonlinear industrial/commercial schemes are now mushrooming as they represent a composite load family comprising lightning, motorized, computers, arc type, and low power factor industrial processes, such as rectifiers, power supplies and inrush type loads. Such composite load often cause voltage flicking, power quality quasi-static waveform distortion and harmonic interference, which in turn cause automatic data processing component failure and computer data. 

The nonlinear volt-ampere characteristics are introduced by analogue or switching type nonlinearity results in dynamic, quasi-static harmonics and inter-harmonics. Harmonics can propagate through the AC utilization/distribution system causing multiple problems and power quality concerns [1]. The use of fixed power filters and LC compensators may not be adequate for quasi-dynamic harmonics generated by nonlinear load switching devices; hence, the need for a new adaptable power filter/compensator is obvious.

Electric utility power quality problems are classified as any abnormal occurrence manifested in voltage/current waveforms, or frequency deviations that results in supply failure or any mis-operation of an electronic equipment [2-4]. It is a growing concern for electric utilities, equipment manufacturers and major electricity users. Utilities have a shared responsibility in addressing and solving these power quality problems. Power Quality problems are increasing due to world-wide proliferation of nonlinear loads and increasing use of sensitive power electronic equipment in process control and automation. Voltage sags, swells, and momentary power supply interruptions are also persistent problems in large electric power grid systems. These shortfalls in supply power quality can be very expensive in terms of sensitive industrial process shutdowns as well as electronic equipment malfunctions. Generally speaking, there are three fundamental changes in the nature of customer loads and power systems which drive the engineering power quality problems and concerns [5-7].

Harmonics and power quality problems [8, 9] are byproducts of solid state converters, industrial rectifiers, switching mode power supplies and arc type load such as lightning and arc furnaces. Electric utility supply power quality problems including harmonics, dynamic and quasi-static waveform distortion are now top priority issue for equipment manufactures, users, and electric utilities. Nonlinear loads are causing dynamic, quasi-static and transient type harmonics of integral, sub-, super- and inter-harmonic content. Other non-integer modulating type frequency signals are introduced by load nonlinearities. These peculiar frequencies are generated by periodic and temporal load variations along with the nonlinearity in the load, whether analogue or switching-type nonlinearity. Voltage drop calculations, reactive power compensations and power factor correction become complex issues in presence of three non-common, non-sinusoidal feeder voltage and current waveforms [10].

The use of fixed, discrete or switched capacitor banks alone may not be effective in enhancing power factor and ensure reactive load compensation. Capacitors for power factor correction may not be adequate with the new type of residual and distortion reactive currents associated with non-sinusoidal load behavior; hence, they are requiring new power definition [11, 12]. The problem is also complicated because of spurious “stochastically” generated and randomly varied uncommon voltage and current harmonics.
Fig. 1 depicts the novel pulse width modulated power filter and capacitor compensator (MPF-CC) developed by the First Author. Fig. 2 shows the structure of the dynamic multi-loop error driven controller adjusting the pulse sequence to ensure the combined load bus voltage stabilization and power quality enhancement, and reduce harmonic content due to load switching excursions.
[image: image1.png]FEEDER

NON-LINEAR

T LOAD

SMVA
11/4.16KV

LINEAR
LOAD

MOTORIZED
LOAD




Figure 1: Sample study radial AC system with proposed MPF-CC filter/compensator scheme.

[image: image2.png]



Figure 2: Tri-loop error driven (PI) control scheme for sinusoidal pulse width modulation (SPWM)
2. DIGITAL SIMULATION RESULTS

The sample study utilization radial AC system shown in Fig. 1-2 was fully simulated (Fig 3-6) without and with the proposed novel MPF-CC FACTS based device developed by First Author as a member of a larger family of green plugs, switched/modulated power filters and flexible LC compensators [13-15].

3. Conclusions
The paper presented the development of a low cost based FACTS Switched Filter Topology and validation study of a novel modulated power filter and capacitor compensator (MPF-CC) for use in dynamic load voltage stabilization, power quality enhancement and efficient power flow utilization using a dynamic  a novel time scaled tri-loop error driven control scheme. The MPF-CC FACTS device has been validated using the MATLAB/Simulink SIMPOWER software.

The paper also presented digital validation study of the proposed low cost scheme for a low voltage 600V (L-L), 3-phase 4-wire utilization system. The modulated power filter and switched capacitor compensator (MPF-CC) is fully effective for load bus voltage stabilization, improvement of power quality, enhancement of AC supply power-factor, and harmonic reduction. The MPF-CC FACTS device was validated for a sequence of extreme load excursions and variations of a hybrid composite nonlinear load comprising arc, converter and temporal on-off inrush motorized loads. The selection of the MPF-CC neutral return impedance is dependent on the dominant nonlinear load type.
  Without MPF-CC Filter
   

                                            With MPF-CC Filter
[image: image3.png]LL Voltage ms) LL Voltage ms)
T T 2 T T
- 0
i i i i i i I | i i i i i i 1 |
3 o1 o1 02 3 03 0% 04 s % o1 o1 02 3 03 0% 04 045
Curert/PU Curert/PU
T T T T T T T T !
WWMMWWWWMWW\NW i
i i i i i i I | i i i i i i 1 |
3 o1 o1 02 3 03 0% 04 045 % o1 o1 02 3 03 0% 04 045
L Votage fms) /PU L Votage fms) /PU
T T ! T T
05 —
i i i i i i I | i i i i i i 1 |
3 o1 o1 02 3 03 0% 04 045 % o1 o1 02 3 03 0% 04 045
Current (ims) / PU Current (ims) / PU
T T T T ! T T T T
L I _
I | | | i | I | o T T T | i | i |
o 3 o1 o1 02 3 03 0% 04 s % a7 o1 02 3 03 0% 04 045
Active Power /U Active Power /U
T T ! T T
L s 3
i i i i i i I | o i i i i i i 1 |
o 3 o1 o1 02 3 03 0% 04 s % a7 o1 02 3 03 0% 04 045
Reactive Power /PU . Reactive Power /PU
T T T T T T T
W ] ]
T T T T i T T T 1 L 1 L 1
3 01 o1 02 3 03 0% 04 s g % o1 o1 02 3 03 0% 04 045
Poner Factor Poner Factor
12
T T T T T T T T T T T
— -
i i i i i i I | i i i i i i I |
3 o1 15 02 53 03 53 04 045 3 o1 015 02 0% 03 0® 04 045




Figure 3: Source readings

[image: image4.png]005

004

00

Mag

002

001

0.07
0.06
Input Current o Input Current
- THD = 371%
THD=4762% gUUA
003
002 ‘ ‘ ‘
001
. ”"“Ih \||\| ||\ ...
3 4 5 6 7 8 0 2 3 4 5
Harmonic order Harmonic order
15
Input Vo\tagea : npt Votage
THD =38.19 % THD = 1.63%
2
05
. .‘..‘m.mll\|| ‘""I\\II\mlI\III\Inu‘.. i
3 4 5 6 7 8 0 2 3 4 5

Harmonic order

Harmonic order





Figure 4: Total Harmonic Distortion (THD) at the source

  Without MPF-CC Filter

                                                With MPF-CC Filter
[image: image5.png]LL Vokage (1ms) 2 LL Voltage ms)
T T
o
2 I | i | i | I |
o 3 o1 15 02 [F3 03 0% 04 s 70 3 o1 o1 02 3 03 0% 04 045
. Curent/PU Curert /PU
T T T T T T T T !
”MWVV\NWW\WW\/VVWWWW 0 —
a5 I | i 1 1 1 I | i i i i i | 1 |
o 3 o1 15 02 [F3 03 0% 04 s o 3 o1 o1 02 3 03 0% 04 045
LLVotsge (ms) /U L Voliage ms) /U
04 1 . . .
T T T T T T T
02 ‘ — o5 -
o I | I T T T = : I | i | i | I |
o 3 o1 o 02 [F3 03 0% 04 i 3 o1 o1 02 3 03 0% 04 045
» Cusent )/ PU , Curent ms) /PU
T T T T T T T T T T T
O P TR AR R AR AR R AR R AR : e 5
o I | I I 1 1 1 | i T T | i | I |
o 3 o1 o 02 [F3 03 0% 04 45 3 o1 o1 02 3 03 0% 04 045
. Active Power /PU . Acive Pawer /U
T T T T T T T T T T
001~ : - osl J
1 | I — t t L | I | i | i | I |
3 o1 o 02 [F3 03 0% 04 45 3 o1 o1 02 3 03 0% 04 045
Reaciive Power / PU Resciive Pover /PU
13 04
T T T T T T
oot : : — oz =
0 = -
am I | i 1 1 1 I | 02 i i i i i | 1 |
3 o1 o 02 [F3 03 0% 04 5% 3 o1 o1 02 3 03 0% 04 045
Power Factor Poner Factor
12
T T T
06 4
I | I I 1 I I | I | i | i | I |
3 o1 15 02 [F3 03 0% 04 3 o1 o1 02 3 03 0% 04 045





Figure 5: Load readings
[image: image6.png]003
0025
002

0015

M

001

0.005

Output Current
THD =48.09 %

3 4 5 B 7
Harmanic order

Output Voltage
THD = 4573 %

3 4 5 B 7
Harmonic order

2

Mag

007
008
005
004
0m
002
0m

008

005

004

0m

002

0m

Harmonic arder

Output Current
THD = 3.56%
i hl||||||||u|............. ‘
0 1 2 3 4 5 B
Harmonic order
Output Voltage
THD = 2.08%
|||I|I||||| ‘“uhll'" ‘|‘||‘||I‘l|\|I\||H"‘|HII|\II‘I|\I|| b
0 1 2 3 4 5 B




Figure 6: Total Harmonic Distortion (THD) at the load

4. Appendix

A1. Hybrid Loads (Linear, Non-linear, and Motorized Loads)

[image: image7.png]



Balanced Non-Linear Load R1 = 24, R = 20, E = E1 = 200V. 

Balanced Linear Load |XL1| = 12; |XL2| = 10 

Balanced Motorized Load Power 60KVA, VLL = 600Vrms 

A2. Tri-loop dynamic controller parameters

The gains: KP = 100, Ki = 10, (KP/Ki = 0.1), Delay time = 10ms, Notch- filter at 60Hz; γV = 1, γI = γR = 0.5, 

SPWM: Selected Carrier Frequency = 750Hz, modulation index m = 0.6.
A3: Load Excursions

The switching load excursion was modeled as:

1. Linear load from t = 0 to t = 0.05 sec

2. Nonlinear load from t = 0.05 to t = 0.1 sec 

3. Motorized load from t = 0.1 to t = 0.15 sec.
5. References
[1] J. Anillaga, D. A. Bradley, P. S. Bodge, “Power System Harmonics”, Wiley, 1985.

[2] D. Daniel Sabin and Ashok Sundaram, “Quality Enhances”, IEEE Spectrum, 1996, No. 2, PP. 34-38.

[3] V. Wagner, Thomas Grebe, Rober Kretschamnn, Lawrence Morgan, and Al Price, “Power System Compatibility with Industrial Process Equipment”, IEEE Industrial Application, Vol. 2, No. 2, January/February, 1996, PP. 11-15.

[4] J. E. Flory, J. Charles Smith, J. M. Cemmensen, “The Electric Utility – Industrial User Partnership in Solving Power Quality Problems”, IEEE Trans. On Power Systems, Vol. 5, No. 3, August 1990, PP. 878-886.

[5] A. Emanuel, R. Aresneau, J. Belanger, “Power System Instrumentation and measurements”, IEEE Power Engineering Review, January 1996, Vol. 16, No. 1, PP. 42-44.

[6] H. G. Sarmiento and E. Estrada, “A Voltage Sag Study in an Industrial with Adjustable Speed Drives”, IEEE Industrial Application, Vol. 2, No. 1, January/February 1996, PP. 16-19.

[7] N. G. Hingorani, “Introducing Custom Power”, IEEE Spectrum, June 1995, PP. 41-49.

[8] G. L. Brewer, C. D. Clark and A. Gavrilovic, “Design Considerations of AC Harmonic filter”, II Conference on High Voltage DC Transmission, No. 22, September 1966, PP. 19-23.

[9] E. B. Makram, R. B. Haines and A. A. Grigis, “Effect of Harmonic Distortion in Reactive Power Measurement”, 1990 Rural Electric Power Conference Proceedings, April 1990, PP. A1-5.

[10] A. E. Emanuel, “Power in Non-Sinusoidal Situation – A Review of Definitions and Physical Meanings”, IEEE Trans. on Instrumentation and Measurement, Vol. IM-29, December 1980, PP. 423-426.

[11] S. Fryze, “Active and Reactive Powers in Non-Sinusoidal Systems”, Przeglad Elektro, No. 7, PP. 193-202, 1931. IEEE Trans. on Instrumentation and Measurements, Vol. IM-29, December 1980, PP. 420-423.   

[12] D. D. Shipp, “Harmonic Analysis and Suppression for Electrical Systems”, IEEE Trans. IA-15[5], Sept./Oct. 1979, PP. 453-458. 

[13] A. M. Sharaf, Caixia Guo and Hong Huang, “Distribution/Utilization system voltage stabilization and power quality enhancement using intelligent smart filter”, UPEC’95, England, UK, 1995.

[14] A. M. Sharaf and Hong Huang, “Flicker control using rule based modulated passive filters”, Electric Power Systems Research Journal 33(1995) 49-52.

[15] A.M. Sharaf and Roshan Chetri, “A Novel Dynamic Capacitor Compensator / Green Plug Scheme for 3 Phase-4 Wire Utilization Loads”, Proceedings of the IEEE-CCECE 2006 Conference, Ottawa, Ontario Canada, May 2006.










